## Sensor type
Title | Auther | Year | Sensor Type | Sensor material | Sensor Model | Sensors embedded in | # of sensors | Sensor Technology
A comparative study on real-time sitting posture monitoring systems using pressure sensors | Zhao | 2023 | FSR | No | No |  | 5 | 5 Pressure sensors
IoT System for Real-Time Posture Asymmetry Detection | Mura | 2023 | FSR | nanomaterial-based pressure-sensitive film | DF9-40 | Cushion- | 4 | Pressure sensor | FSR
Research and Application of Sitting Posture Correction Design Based on Artificial Intelligence | Wang | 2022 | FSR | Thin film | IMS-C20A | wearable robotics device | 32x32 | Pressure sensor array
Intelligent Active Correction Seat Based on Neural Network Sitting Posture Recognition | Liang | 2022 | resistance strain gauge | No | BF350 high-precision | Cushion | 8 | Cushion Pressure Gauge
Smart Seat With Real-Time Asymmetrical Sitting Alert | Lamberti | 2022 | FSR | nanomaterial-based pressure-sensitive film | DF9-40 | Cushion | 4 | cushion equipped with four commercial pressure sensors
Knitted self-powered sensing textiles for machine learning-assisted sitting posture monitoring and correction | Jiang | 2022 | Textile | No | No | No | 8 | 8 wearable sensor, 8 sensors
Posture Alert | Muppavaram | 2018 | FSR | No | FSR 406 | Seat | 8 | Pressure sensor
FSR-Based Smart System for Detection of Wheelchair Sitting Postures Using Machine Learning Algorithms and Techniques | Jaffery | 2022 | FSR | No | No | seat | 9 | FSR sensors
A Proposal of Implementation of Sitting Posture Monitoring System for Wheelchair Utilizing Machine Learning Methods | Ahmad | 2021 | Pressure | Custom:Ag-Flake ink Piezoresistive | CI-2062 by ECM) and (CI-7031 by ECM | Cushion | 16 4x4 | Pressure Sensor
Smart-Cover: A real time sitting posture monitoring system | Anwary | 2021 | Pressure- Textile | Custom: piezoresistive Velostat, conductive fabric |  | Cushion-seat | 6 | Sitting Pressure Sensor (SPS)
Improved Self-Organizing Map-Based Unsupervised Learning Algorithm for Sitting Posture Recognition System | Cai | 2021 | Pressure | Flexible | No | Cushion | 1024 32x32 | Pressure Sensor
IoT Device for Sitting Posture Classification Using Artificial Neural Networks | Luna-Perejón | 2021 | FSR | No | (FSR01CE, Ohmite | Cushion | 6 | Force Sensitive Resistors (FSR)
A portable sitting posture monitoring system based on a pressure sensor array and machine learning | Ran | 2021 | Pressure Sensor | lexible polyester substrate | IMM00014, I-MOTION | Cushion | 11x13 | Pressure sensors
SeatPlus: A smart health chair supporting active sitting posture correction | Shen | 2021 | Pressure- Textile | Memory Foam | No | Airbag on back | 10 | membrane pressure sensors
Hip Positioning and Sitting Posture Recognition Based on Human Sitting Pressure Image | Wan | 2021 | Pressure | No | No | Cushion | 1024 32x32 | Body Pressure Measurement System (BPMS)
Posture Prediction for Healthy Sitting using a Smart Chair | Gelaw | 2022 | Pressure | MEMS | No | seat | 64 | 32+32 pressure sensors
Intelligent Posture Training: Machine-Learning-Powered Human Sitting Posture Recognition Based on a Pressure-Sensing IoT Cushion | Bourahmoune | 2022 | Pressure - Textile | No | No | Cushion strapped to back seat | 9 | Pressure sensor
A deep learning based 2-dimensional hip pressure signals analysis method for sitting posture recognition | Fan | 2022 | Pressure - Textile | film-type piezoresistive sensor array | No | Cushion | 44x52 | array pressure sensor
A Smart Chair Sitting Posture Recognition System Using Flex Sensors and FPGA Implemented Artificial Neural Network | Hu | 2020 | Flex Sensor | polymer ink with conductive particles and plastic flake | FS-L-0055-253-ST | Cushion | 6 | 6 Flex sensor,
Providing a cushion for wireless healthcare application development | Hu | 2010 | Pressure Sensor TexScan |  |  | Cushion- | 6
LifeChair: A Conductive Fabric Sensor-Based Smart Cushion for Actively Shaping Sitting Posture | Ishac | 2018 | Pressure Sensor Textile | conductive fabric-based sensors |  |  | 9
Inverse Piezoresistive Nanocomposite Sensors for Identifying Human Sitting Posture | Qian | 2018 | Strain Guage | inverse piezoresistive nanocomposite sensors | Ecoflex 00-30 | Human Back | 1 | Strain Gauge
Sitting Posture Monitoring System Based on a Low-Cost Load Cell Using Machine Learning | Roh et al | 2018 | Load Cell |  | P0236-I42 | cuhsio | 4
Inertial Sensors
Smartphone-Based Human Sitting Behaviors Recognition Using Inertial Sensor | Sinha | 2021 | Inertial Sensor |  |  | Smartphone |  | sensor built in the smartphone
Human Postures Recognition by Accelerometer Sensor and ML Architecture Integrated in Embedded Platforms: Benchmarking and Performance Evaluation | leone | 2023 | Accelerometer |  |  | Chest |  | tri-axial accelerometer-based (shimmer device on chest)
Machine Learning Algorithms Application For The Proposed Sitting Posture Monitoring System | Tlili | 2022 | Inertial Sensor |  | MPU6050 | Human Back | 2 | Belt with two inertial sensors
Mix sensor
Multimodal data-based deep learning model for sitting posture recognition toward office workers’ health promotion | Zhang | 2023 | Pressure + IR |  |  |  | 44x52 24x32 | pressure sensor arrays (44x52) and infrared array (24x32)
Efficient Sitting Posture Recognition for Wheelchair Users: An Unsupervised Data-Driven Framework | Ramakrishna | 2023 | Pressure + ultrasonic |  |  |  |  | 3 pressure sensors (on seat) and 1 ultrasonic sensor (back)
A privacy-preserving and unobtrusive sitting posture recognition system via pressure array sensor and infrared array sensor for office workers | Zhang | 2022 | Pressure + Infrared |  | IR=MLX90640 |  | IR:24x32 Press:44x52 | pressure sensor array module + infrared
Ultrasonic
You Work We Care: Sitting Posture Assessment Based on Point Cloud Dat | u Katayama | 2022 | IR+CMOS | No | No |  | 1 | LiDAR
RFID
Sitsen: Passive sitting posture sensing based on wireless devices | Li | 2021 | RFID |  | Impinj R420 RFID reader |  | 1 tag+2 readers | RFID
Real- Time Human Sitting Position Recognition using Wireless Sensors | Estrada | 2022 | [5 empty] | 10 Flex sensor wireless sensor

## ArrayvsAsymmetric
Title | Auther | Year | J/C/B | Sensor Type | Sensor material | Sensor Model | Sensors embedded in |  | # of sensors | Sensor Technology | IoT | Alert | Sensor Location | Input | No. of Postures | Postures | Controller | Algorithm | Dataset | Data Size | Precision | Accuracy | Recall | F1
A comparative study on real-time sitting posture monitoring systems using pressure sensors | Zhao | 2023 | journal | Pressure Sensor | No | No |  | Assymmetric | 5 | 5 Pressure sensors | No | No | 4 on seat one on Back | sensor voltages | 6 | : (a) upright, (b) leaning left, (c) leaning right, (d) leaning forward, (e) leaning backward, (f) right leg crossed, (g) left leg crossed | STM32F103C8T6 | k-nearest neighbors, naive Bayes, decision trees, XGBoost, and random forest | Customized
IoT System for Real-Time Posture Asymmetry Detection | Mura | 2023 | Journal | FSR | nanomaterial-based pressure-sensitive film | DF9-40 | Cushion- | Assymmetric | 4 | Pressure sensor | Yes-IoT | Visual on computer | On Seat | sensor voltages | 2 | Symmetrical, Asymmetrical | Arduino Mega | Custom
Research and Application of Sitting Posture Correction Design Based on Artificial Intelligence | Wang | 2022 | conference | FSR | Thin film | IMS-C20A | wearable robotics device |  | 32x32 | Pressure sensor array | Yes-IoT | AUdio-4 Buzzer Module |  | sensor array snaphot (32x32) Wearable robots | 8 | Normal Sitting Posture Forward Leaning Backward Leaning Left Leaning Right Leaning Shaking Legs Tilting Legs Leaving the Seat | Arduino | CNN (Mobile Net V1) | NA | NA |  | 98%
Intelligent Active Correction Seat Based on Neural Network Sitting Posture Recognition | Liang | 2022 | Journal | resistance strain gauge | No | BF350 high-precision | Cushion | Assymmetric | 8 | Cushion Pressure Gauge | No | No | On the seat | 8 +6 sensor voltage values | 5 | 1. Normal 2. Lean Left 3. Lean Right 4. Lean forward Lean Backward | STM32F103ZET6 | CNN
Smart Seat With Real-Time Asymmetrical Sitting Alert | Lamberti | 2022 | Conference | FSR | nanomaterial-based pressure-sensitive film | DF9-40 | Cushion | Assymmetric | 4 | cushion equipped with four commercial pressure sensors | Yes-IoT | Visual on computer | On the seat | 4 sensor values | 2 | good or bad | Arduino mega | Custom | NA | NA | NA | NA | NA | NA
Knitted self-powered sensing textiles for machine learning-assisted sitting posture monitoring and correction | Jiang | 2022 | journal |  | No | No | No |  | 8 | 8 wearable sensor, 8 sensors | No | No | cervical spine, thoracic spine, lumbar spine, shoulder wings, and waist | 8 Sensor voltages | 6 | 1. Leaning Toward the Right Leaning Toward the Left Humpback Posture Backward Posture Sitting Idle 6. Ideal | Computer with LabView and Python | RF, LR, DT | NA | NA | NA | RF=96.60%
Posture Alert | Muppavaram | 2018 | Conference | FSR | No | FSR 406 | Seat | Assymmetric | 8 | Pressure sensor | Yes-IoT | Beep alert on Mobile application | 4 seat, 2 back, 2 arm | 8 sensor voltages | 12 | a) Seat not in use (unoccupied) b) User is in front of chair with legs raised c) No contact with back (sitting forward) d) Torso forward, no contact with back e) Torso is lightly tilted forward (lightly forward) f) Front of chair, leaning backward g) Leaning left or forward left (leaning left) h) Leaning right or forward right (leaning right) i) Left leg crossed (left crossed) j) Right leg crossed (right crossed) k) Torso and legs are correctly aligned (good posture) l) Torso/legs correctly aligned, shoulders relaxed | Atmel324 | KNN | Customized | 10000 values |  | 95%
FSR-Based Smart System for Detection of Wheelchair Sitting Postures Using Machine Learning Algorithms and Techniques | Jaffery | 2022 | Journal | FSR | No | No | seat | Assymmetric | 9 | FSR sensors | No | No | 9 on seat 5 on seat | 3x3 matrix, 5 sensor | 5 | ideal position, forward-leaning, backward leaning, left-leaning, and right-leaning | ESP32 | (K-NN,LR,DT, SVM,LightGBM) | custom | 800 |  | 95.41
A Proposal of Implementation of Sitting Posture Monitoring System for Wheelchair Utilizing Machine Learning Methods | Ahmad | 2021 | Journal | Pressure | Custom:Ag-Flake ink Piezoresistive | CI-2062 by ECM) and (CI-7031 by ECM | Cushion |  | 16 4x4 | Pressure Sensor | No | No | 16 sensor on the seat | 4x4 screen printed pressure sensor units | 4 | right-leaning, left-leaning, forward-leaning, and backward-leaning postures | ATmega-2560 | k-nearest neighbors (k-NN), support vector machines (SVM), random forest (RF), decision tree (DT) and LightGBM | Collected | 4096 |  | kNN-99.03
Smart-Cover: A real time sitting posture monitoring system | Anwary | 2021 | Journal | Pressure | Custom: piezoresistive Velostat, conductive fabric |  | Cushion-seat | Assymmetric | 6 | Sitting Pressure Sensor (SPS) | Yes-IoT | Yes | 4 on the seat 2 on back | SPS matrix data | 6 | three levels of asymmetry: mild, moderate, and severe. | ATmega328 | Rule based fuzzy logic | real time collected by IoT | data from 10 people |  | >80% in fuzzy
Improved Self-Organizing Map-Based Unsupervised Learning Algorithm for Sitting Posture Recognition System | Cai | 2021 | Journal | Pressure | Flexible | No | Cushion |  | 1024 32x32 | Pressure Sensor | No | No | seat Snsor array 1024 | sensors matrix redcuded to 32x8 | 6 | Standard sitting posture Lean left posture Lean right posture Waist bow posture Right cross-legs posture Left cross-legs posture | STM32 MCU | ISOM-based sitting posture recognition algorithm | Customized | 8000 | 95.87 | 95.67% | 95.67
IoT Device for Sitting Posture Classification Using Artificial Neural Networks | Luna-Perejón | 2021 | Journal | FSR | No | (FSR01CE, Ohmite | Cushion | Assymmetric | 6 | Force Sensitive Resistors (FSR) | Yes-IoT | No | 6 on seat | sensors, microcontroller unit | 6 | Upright posture Reclined Torso bent forward torso inclined laterally to the right torso inclined laterally to the left right leg crossed over the left. left leg crossed over the right | NUCLEO-F411RE STM32 Nucleo-64 development motherboard | ANN | Collected from sensors | data from 12 people |  | 81%
A portable sitting posture monitoring system based on a pressure sensor array and machine learning | Ran | 2021 | Journal | Pressure Sensor | lexible polyester substrate | IMM00014, I-MOTION | Cushion |  | 11x13 | Pressure sensors | No | Vibrotactile Feedback | on the seat | Sensor array 11x13 | 7 | (a) sitting upright, (b) leaning forward, (c) leaning backward, (d) leaning left, (e) leaning right, (f) cross left leg, and (g) cross right leg. | Raspberry Pi | Random Forest | 54x52 sensor data | 21000 frames | 96.4 | 97.07% | 96.3
SeatPlus: A smart health chair supporting active sitting posture correction | Shen | 2021 | Conference | Pressure Sensor | No | No | Airbag on back | Assymmetric | 10 | membrane pressure sensors | Yes-IoT | Airbag and air pump | on the seat | Sensor array | 11 | Good sitting posture Humpback Reclining Shallow sitting Cross-leg (left) Cross-leg (right) Inclining to the left Inclining to the right | Arduino Mega2560 | Multi-Layer Perceptron Classifier | sensor data |  |  | >90%
Hip Positioning and Sitting Posture Recognition Based on Human Sitting Pressure Image | Wan | 2021 | Journal | Pressure | No | No | Cushion |  | 1024 32x32 | Body Pressure Measurement System (BPMS) | No | No | on the seat | sensor array 32x32 | 4 | Sitting upright Leaning back Leaning left Leaning right | Laptop | SVM) with polynomial kernel | sensor data | data from 10 people, 800 images |  | 89.6%
Posture Prediction for Healthy Sitting using a Smart Chair | Gelaw | 2022 | Journal | Pressure | MEMS | No | seat | Assymmetric | 64 | 32+32 pressure sensors | No |  | 32 on the seat 32 on the back | sensor array 32+32 | 5 | 1. Empty 2. Leaning back 3. Leaning left 4. Leaning right 5. Leaning front 6. still | Not-Specified | Random Forest (RF), Gaussian Naïve Bayes, Logistic Regression, Support Vector Machine and Deep Neural Network | sensor data | 7000 |  | 98%
Intelligent Posture Training: Machine-Learning-Powered Human Sitting Posture Recognition Based on a Pressure-Sensing IoT Cushion | Bourahmoune | 2022 | Journal |  | No | No | Cushion strapped to back seat | Assymmetric | 9 | Pressure sensor | Yes-IoT | Vibrotactile Feedback | 9 sensors on back of seat | sensor data | 15 | Right Arm Cross (RAC); (b) Left Arm Cross (LAC); (c) Both Arms Up (BAU); (d); Right Leg Up (RLU); (e) Left Leg Up (LLU); (f) Hanging Arms Down (HAD). Forward Head Posture Leaning Back No Left Side No Left Shoulder No Right Side No Right Shoulder Rounded Shoulders Slouching Forward | Not-Specified | Decision Trees - Classification and Regression Trees (DT-CART) Random Forest (RF) k-Nearest Neighbors (k-NN) Linear Regression (LR) Linear Discriminant Analysis (LDA) Naive Bayes (NB) Neural Network - Multilayer Perceptron (MLP) | biomechanics posture model and on user body characteristics’ data (BMI) | 312,587 recordings |  | 98.82%
A deep learning based 2-dimensional hip pressure signals analysis method for sitting posture recognition | Fan | 2022 | Journal | Pressure - Textile | film-type piezoresistive sensor array | No | Cushion |  | 44x52 | array pressure sensor | No | No | on the Seat | 44 × 52 pressure sensor array | 5 | Sitting upright Leaning forward Leaning back Leaning left Leaning right | Laptop | deep convolutional neural network (CNN) | data from 8 people | 1120 |  | 99.82%
A Smart Chair Sitting Posture Recognition System Using Flex Sensors and FPGA Implemented Artificial Neural Network | Hu | 2020 | Journal | Flex Sensor | polymer ink with conductive particles and plastic flake | FS-L-0055-253-ST | Cushion | Assymmetric | 6 | 6 Flex sensor, | No | No | 3 on seat, 2 on arms, 1 back | sensor data | 7 | (a) sit straight; (b) left recline; (c) right recline; (d) lounge; (e) lean backward; (f) cross left leg; (g) cross right leg. | Arduino for data collecion, PC for training and FPGA for inference | SVM ANN |  | 9791 |  | SVM 88.37%, ANN (97.43%)
Providing a cushion for wireless healthcare application development | Hu | 2010 | Conference | Pressure Sensor TexScan |  |  | Cushion- | Assymmetric | 6 |  | Yes-IoT | Visual warnign on Mobile phone | 4 seat , 2 back, acclerometer at back | sensor data |  |  | Crossbow Technology
LifeChair: A Conductive Fabric Sensor-Based Smart Cushion for Actively Shaping Sitting Posture | Ishac | 2018 | Journal | Pressure Sensor Textile | conductive fabric-based sensors |  |  | Assymmetric | 9 |  |  | Vibrotactile Feedback |  |  | 11 |  | Atmega328 |  | Pressure data |  |  | 98.1%
Inverse Piezoresistive Nanocomposite Sensors for Identifying Human Sitting Posture | Qian | 2018 | Journal | Strain Guage | inverse piezoresistive nanocomposite sensors | Ecoflex 00-30 | Human Back | Assymmetric | 1 | Strain Gauge | Yes-IoT | Ntype not mentioned | Human Back |  | 3 | 1)normal sitting posture, 2) slight hunchback and 3)severe hunchback | Arduino Uno | BP neural Network |  |  |  | 98.75
Sitting Posture Monitoring System Based on a Low-Cost Load Cell Using Machine Learning | Roh et al | 2018 |  | Load Cell |  | P0236-I42 | cuhsio | Assymmetric | 4 |  | No | No |  |  | 6 | (a) upright sitting with backrest (UPwB); (b) upright sitting without backrest (UPwoB); (c) front sitting with backrest (FRwB); (d) front sitting without backrest (FRwoB); (e) left sitting (LE); and (f) right sitting (RI). | PC | SVM, DCA, QD, NB, RF, DT
A Novel Smart Chair System for Posture Classification and Invisible ECG Monitoring | Pereira | 2023 |  | Load Cell |  |  |  |  | 4 | [5 empty] | 9 | (P1) Upright sitting; (P2) Slouching; (P3) Leaning forward; (P4) Leaning backward; (P5) Leaning left; (P6) Leaning right; (P7) Right leg crossed; and (P8) Left leg crossed.
Inertial Sensors
Upper Body Posture Recognition Using Inertial Sensors and Recurrent Neural Networks | Tang |  |  | IMU |  |  |  | Assymmetric | 9 | [5 empty] | 7 | upright, slump, lean, right and left bending, and right and left twisting
Otodel | otodel | 2018 |  | Accelerometer
Smartphone-Based Human Sitting Behaviors Recognition Using Inertial Sensor | Sinha | 2021 | Journal | Inertial Sensor |  |  | Smartphone |  | 1 | sensor built in the smartphone | No | No | the inertial sensor is attached to the rear upper trunk of the body | IMU sensor | 5 | Left movement Right movement Front movement Back movement Straight movement | Smartphone | Correlation-based feature selection (CFS) technique, particle swarm optimization (PSO) and SVM, KNN, Naive Bayes | Collected from sensor data | 163501 |  | 99.9%
Human Postures Recognition by Accelerometer Sensor and ML Architecture Integrated in Embedded Platforms: Benchmarking and Performance Evaluation | leone | 2023 | Jounral | Accelerometer |  |  | Chest | Assymmetric | 1 | tri-axial accelerometer-based (shimmer device on chest) | No | No |  | accelerometer values | 4 | NA | PC, Raspberry Pi 4 and Odroid N2+ | RF, DT, KNN | NA |  | 98.6 | 98.7% | 98.6% | 97.7%
Machine Learning Algorithms Application For The Proposed Sitting Posture Monitoring System | Tlili | 2022 | Journal | Inertial Sensor |  | MPU6050 | Human Back |  | 2 | Belt with two inertial sensors | No | No |  | angle array | 4 | 1. Good Posture 2. Slouching Over 3. Slouching Left 4. Slouching Right | Raspberry Pi 4 | KNN, SVM, DT, RF, Naive-Bayes, Boosting, K-means | Customized | 5940 |  | RF=99.19% | RF=98.70%
Mix sensor
Multimodal data-based deep learning model for sitting posture recognition toward office workers’ health promotion | Zhang | 2023 | Journal | Pressure + IR |  |  |  |  | 44x52 24x32 | pressure sensor arrays (44x52) and infrared array (24x32) | No | No |  | Snapshoot of pressure sensor arrays (44x52) | 6 | straight, leaning forward, leaning backward, hunchback, leaning left, rotation left | EVB90640-41 | Multimodela Deep Learning | Heterogeneous, Skoda, and PAMAP2. | 8970 |  |  |  | F1=93.08%
Efficient Sitting Posture Recognition for Wheelchair Users: An Unsupervised Data-Driven Framework | Ramakrishna | 2023 | Journal | Pressure + ultrasonic | [5 empty] | 3 pressure sensors (on seat) and 1 ultrasonic sensor (back) |  |  |  | pressure sensors | 4 |  | NA | ICA model and KD-based monitoring | Borrowed from other author | 308 datapoints |  | F1-score around 99.41% |  | 99.41%
A privacy-preserving and unobtrusive sitting posture recognition system via pressure array sensor and infrared array sensor for office workers | Zhang | 2022 | Journal | Pressure + Infrared |  | IR=MLX90640 |  |  | IR:24x32 Press:44x52 | pressure sensor array module + infrared |  |  |  | Snapshot of Pressure(44 × 52) Infrared(24 × 32) | 10 | Trunk is straight (TS), leaning forward (TF), leaning backward (TB), and leaning to the left (TL). Neck is neutral (NN) or non-neutral (NON). Upper extremity: putting hands on the desk (UD), hands on the legs (UL), holding the chin using one hand (UC), and holding the forehead using one hand (UF). The lower extremity: the legs are crossed (LC) or supported by the ground (LG) | EVB90649-4 for IR | DCNN and TSPN | Customized | 6300 frames |  | 90.6%
Ultrasonic
You Work We Care: Sitting Posture Assessment Based on Point Cloud Dat | u Katayama | 2022 | conference | IR+CMOS | No | No |  |  | 1 | LiDAR | No | No | Front of humman sittigng on chair | x, y, and z coordinate | 9 | 1. Front Left 2. Front Right 3. Front Center 4. Straight Left 5. Straight Right 6. Straight Center 7. Back Left 8. Back Right 9. Back Center | Raspberry Pi 4 | 2D CNN | [5 empty] | 87%
RFID
Sitsen: Passive sitting posture sensing based on wireless devices | Li | 2021 | Journal | RFID |  | Impinj R420 RFID reader |  |  | 1 tag+2 readers | RFID |  |  | close to user | RFID signals | 5 | 1. Sitting straight 2. Back bend forward 3. Sitting backward 4. Waist straight forward with the waist and thigh at an angle of 30° 5. Waist straight forward with the waist and thigh at an angle of 45° | Computer | PCA and Neural network back propagation (BP) neural network | RFID | data from 10 people |  | 97.02
Real- Time Human Sitting Position Recognition using Wireless Sensors | Estrada | 2022 | Conference | RFID | [5 empty] | 10 Flex sensor wireless sensor |  |  | Placed on body | lkex sensors data | 6 | 3 proper and 3 improper | Laptop | Decision Tree | data from 10 flex sensors | 3600 | 78.57 | 84.62% | 84.62
[18 empty] | SVM, LDA, quadratic discriminant analysis (QDA), NB, and random forest |  |  |  | 97.20% with SVM

## sensors vs posture
5 | 6 | 32x32 | 8 | 4X4 | A | 4
4 | 2 | 4x4 | 4 | 32x32 | B | 4 | 6 | 8
8 | 5 | 32x32 | 6 | 11X13 | C | 7
4 | 2 | 11x13 | 7 | 44X52 | D | 5 | 6 | 10
8 | 6 | 32x32 | 4
8 | 12 | 44x52 | 5
9 | 5 | 44x52 | 6
6 | 6 | 44x52 | 10
6 | 6 | 32+32 | 5
10 | 11
9 | 15
6 | 7
6
9 | 11
1 | 3
4 | 6
4 | 9
9 | 7
1 | 5
1 | 4
2 | 4
1 | 9

## Summary
paper# | Title | Auther | Year | J/C/B | Sensor Type | Sensor material | Sensor Model | Sensors embedded in | # of sensors | Mat Size | Sensor Technology | Sensor Location | Input | IoT | Alert | Reports | No. of Postures | Postures | Controller | Algorithm | Energy Consumption | Dataset | Data Size | Precision | Accuracy | Recall | F1 | Challenges | Future work
1 | Unobtrusive Smart Mat System for Sleep Posture Recognition | Haikang Diao, | 2021 | ISCAS | FSR | Velostat (Flexible material) | Custom-made using Velostat | Five-layer structure miniature mat | 32x32=1024 |  | Printed Electrode technology | Embedded within the mat (placed between the neck and hips for sleep posture recognition) | Pressure sensing | - | - | - | 4 | Supine, Prone, Left, Right | STM32 microcontroller | SVM, KNN |  | Custom | 224 raw images | SVM (64.94 -100%) KNN(65.71-100%) | 78% for subject independent 95%+ for subject depdendent | SVM(57.14-100%) KNN(66.07%-100%) |  | Difficult to distinguish between supine and side-lying postures due to similarities in pressure distribution | Integration of additional information like breathing and body movements for a more comprehensive evaluation of sleep quality
2 | A Smart IoT System for Detecting the Position of a Lying Person Using a Novel Textile Pressure Sensor | Hudec 2021 | 2021 | Sensors | Textile pressure Sensor | Velostat and electrically conductive yarn | Custom | Mattress topper | 64 |  | Resistive sensing technology | Distributed across the mattress topper | Pressure exerted by the person lying on the bed | Yes, using MQTT protocol and QIoT suite | NS | Data about lying positions are displayed in a desktop application for the staff | 4 | Supine, Left Lateral, Prone, Right Lateral | NodeMCU with ESP8266 | CNN |  | Custom | 120x31=3720 | 92% | 84% | 91% | 84% | Variation in pressure distribution due to differences in subject weight | Improving the system for diverse body weights, further sensor optimization
3 | Sleep Mat-e: Electronic Sleep Mat for Posture Monitoring | Tang 021 | 2021 | Journal | FSR | Velostat (piezoresistive material) | Custom-made using Velostat | Pressure-sensing mat | 19x9=171 | 1m x 2m | Printed Electrode technology | Distributed evenly across the mat, placed under the bedsheet | Pressure distribution from bodyy | Yes, data transmitted to the cloud via WiFi | Fall alerts, bed unoccupied alerts, bedsore alerts | Android application shows sleep posture, statistical data, and warnings | 6 | Face Up, Face Down, Right Lateral, Left Lateral, Unoccupied, Closer to Edge | ATmega32U4 Microcontroller | CNN with Transfer Learning (Inception-V3) | Average consumption of 90.8 mA, powered by a 9V AAA battery, lasting ~8 hours without optimization, or up to ~80 hours with it | Custom 200 images per posture, 1200 images total | 171 sensor values for each image |  | Overall accuracy of 90.4%, with category-wise accuracy varying from 80% to 100% |  |  | Similarity between certain postures (e.g., Left Lateral and Right Lateral) causing classification errors | Increase resolution, detect light and deep sleep stages, and implement security and scalability features
4 | Internet of Things in Sleep Monitoring: An Application for Posture Recognition Using Supervised Learning | Matar 2016 | 2016 | (Healthcom) | FSR |  | Tactilus Mattress System | Pressure-sensing mattress |  |  | Body Pressure Mapping Sensors | Distributed within the mattress | Pressure distribution data from the body | Yes, via Bluetooth communication for wireless data transmission |  | Data is sent to a workstation for analysis and can be used for sleep posture monitoring and medical reports | 3 | Supine/Prone (combined as one), Left Lateral, Right Lateral |  | SVM |  | 312 images | 14x32 pixel binary imag |  | 97.22% for supine/prone, 93.2% for left lateral, 94.59% for right lateral and 94.14 overall | 94.5% for supine/prone, 93.2% for left lateral, 94.5% for right lateral |  | Difficult to distinguish between similar postures (e.g., supine/prone and lateral positions), limited data resolution | Explore the use of respiratory-induced pattern recognition to further distinguish between prone and supine positions, optimize IoT framework
5 | Smart Pressure e-Mat for Human Sleeping Posture and Dynamic Activity Recognition | Yuan 2023 | 2023 |  | Piezoresistive Pressure Sensors | Velostat (Linqstat) | Velostat Sensor Array | Smart Pressure e-Mat (SPeM) |  | 2.030 m × 1.525 m | Piezoresistive Technology | Distributed throughout the pressure mat | Pressure exerted by human body | NS | NS | NS | 4 Sleep 5 activity | Supine, Prone, Left Lateral, Right Lateral, etc. | Arduino Nano (central signal processing unit) | Deep Neural Networks (CNN, CRNN, 3D CNN for classification) |  | 14,000 image stream samples |  |  | Sleeping posture: 0.988 (CRNN), Dynamic activity: 1.0 (CRNN) |  |  | Crosstalk and noise from Velostat's non-ideal electrical properties | Fusion with wearable sensors, image resolution improvements, and multi-modal sensing
6 | Intelligent Medical Velostat Pressure Sensor Mat Based on Artificial Neural Network and Arduino Embedded System | Kciuk | 2023 | Journal | FSR | Velostat (Polymeric material impregnated with carbon black) | Custom-designed Velostat mat | Pressure-sensitive mat | Multiple cells in a matrix arrangement (14x14 or 8x8 matrix variations used in experiments) |  | Piezoresistive sensor | Integrated within a mat | Pressure force distribution from human body | Yes, data transmitted to LabVIEW via Arduino | N | Data sent to a workstation for real-time monitoring and analysis via LabVIEW | Not specified in terms of postures, but pressure distribution is measured in sitting/lying situations | Focus on pressure rather than specific postures | Arduino microcontroller (ATmega-based) | Artificial Neural Network (ANN) for pressure-force relationship prediction |  |  |  |  | 93% |  |  | Crosstalk in sensor matrix and noise in data collection due to interference | Real-size mat implementation and improving efficiency of data acquisition and processing technologies
7 | Sleep position classification with a compact pressure textile sensor mattress using convolutional neural networks | Breuss | 2024 | Journal | Pressure textile sensor |  |  | Mattress | 392=14x28 | 40 cm x 80 cm | Resistive pressure sensing | Under the chest and shoulders |  | NO | No | No | 4 | Supine, Lateral left, Lateral right, Prone | NS | CNN with Transfer Learning (Inception-V3) | NS | 1248 Position samples | 608 images | Supine: 85.0%, Lateral Left: 80.1%, Lateral Right: 86.5%, Prone: 76.2% | 82.7% (Generalized), 95% (Personalized Male), 92% (Personalized Female) | 82.7% | 0.819 (Generalized), 0.950 (Personalized Male), 0.914 (Personalized Female) | Difficulty distinguishing between lateral positions, small sensor area limits classification for limb positions | Explore larger sensor areas, incorporate body movement tracking, collect more data for bed occupancy detection

## Summary old
Title | Auther | Year | J/C/B | Sensor Type | Sensor material | Sensor Model | Sensors embedded in | # of sensors | Sensor Technology | IoT | Alert | Sensor Location | Input | No. of Postures | Postures | Controller | Algorithm | Dataset | Data Size | Precision | Accuracy | Recall | F1 | Future work | Key words | Comments | Findings | Challenges
A comparative study on real-time sitting posture monitoring systems using pressure sensors | Zhao | 2023 | journal | Pressure Sensor |  |  |  |  | 5 Pressure sensors | No | No | 4 on seat one on Back | sensor voltages | 6 | : (a) upright, (b) leaning left, (c) leaning right, (d) leaning forward, (e) leaning backward, (f) right leg crossed, (g) left leg crossed | STM32F103C8T6 | k-nearest neighbors, naive Bayes, decision trees, XGBoost, and random forest | Customized | [6 empty] | sitting posture monitoring, pressure sensor, subject-independent, subject-dependent, cross-subject
IoT System for Real-Time Posture Asymmetry Detection | Mura | 2023 | Journal | FSR | DF9-40 | DF9-40 | Cushion- | 4 | Pressure sensor | Yes-IoT | Visual on computer | On Seat | sensor voltages | 2 | Symmetrical, Asymmetrical | Arduino Mega | Custom
Research and Application of Sitting Posture Correction Design Based on Artificial Intelligence | Wang | 2022 | conference | FSR | Thin film | IMS-C20A | wearable robotics device |  | Pressure sensor array | Yes-IoT | AUdio-4 Buzzer Module |  | sensor array snaphot (32x32) Wearable robots | 8 | Normal Sitting Posture Forward Leaning Backward Leaning Left Leaning Right Leaning Shaking Legs Tilting Legs Leaving the Seat | Arduino | CNN (Mobile Net V1) | NA | NA |  | 98% |  |  |  | artificial intelligence, sitting posture correction, neural network, sensor |  | Design of Intelligent Sitting Posture Monitoring System: The study innovatively designed an intelligent sitting posture monitoring robot control system that focuses on monitoring sitting posture, sitting time, and lighting environment. The system collects hip pressure distribution data using a flexible force-sensitive sensor and utilizes multi-sensors for data collection and sitting posture recognition through a neural network
Intelligent Active Correction Seat Based on Neural Network Sitting Posture Recognition | Liang | 2022 | Journal | [5 empty] | Cushion Pressure Gauge |  |  |  | 8 +6 sensor voltage values | 5 | 1. Normal 2. Lean Left 3. Lean Right 4. Lean forward Lean Backward | STM32F103ZET6 | CNN | [6 empty] | Enhanced Sensor Technology: Research and development of advanced sensor technologies to improve the accuracy and efficiency of sitting posture data collection, such as the integration of additional sensors for capturing more detailed posture information. Machine Learning Algorithms: Exploration of more sophisticated machine learning algorithms and neural network architectures to further enhance sitting posture recognition capabilities and correction precision. Personalized Correction Solutions: Development of personalized correction solutions tailored to individual users based on their specific sitting habits, body characteristics, and ergonomic needs. Real-time Feedback Mechanisms: Implementation of real-time feedback mechanisms, such as visual or haptic cues, to provide users with immediate guidance on correcting their sitting posture for long-term habit improvement. Long-term Health Monitoring: Integration of health monitoring features into the correction seat system to track and analyze the impact of improved sitting posture on users' musculoskeletal health over time. User Experience Optimization: Focus on enhancing the user experience of the correction seat system through ergonomic design, intuitive interfaces, and customizable settings to promote user engagement and adherence. Clinical Validation Studies: Conducting clinical validation studies to assess the effectiveness of the correction seat system in preventing and reducing musculoskeletal disorders associated with prolonged sitting. |  |  | Development of an intelligent correction seat system aimed at improving sitting posture and reducing the incidence of lumbar diseases caused by prolonged sitting and improper posture at work. Utilization of pressure sensors and ultrasonic sensors to collect sitting posture data from users. | Complex Data Collection: Gathering and processing data from pressure sensors and ultrasonic sensors to accurately capture sitting posture information can be challenging due to the complexity of the data involved. Model Accuracy: Ensuring the accuracy of the sitting posture model established through neural network technology is crucial for effective posture recognition and correction. Challenges may arise in fine-tuning the model to account for variations in individual sitting habits. User Variability: Addressing the diverse range of user heights, weights, and sitting preferences poses a challenge in creating a universal correction solution that caters to the needs of different individuals. Integration of Sensors: Integrating multiple sensors and ensuring their seamless operation within the correction seat system can be technically challenging and may require robust hardware and software integration. User Acceptance: Encouraging user adoption and acceptance of the correcion seat system may be a challenge, especially if users are resistant to changes in their sitting habits or discomfort caused by the correction mechanisms. Cost Considerations: Balancing the cost of implementing the intelligent correction seat system with its effectiveness and benefits can be a challenge, especially in ensuring affordability for widespread adoption.
Smart Seat With Real-Time Asymmetrical Sitting Alert | Lamberti | 2022 | [6 empty] | cushion equipped with four commercial pressure sensors |  |  |  | 4 sensor values | 2 | good or bad | Arduino mega | Custom | NA | NA | NA | NA | NA | NA |  |  |  | The system utilizes sensors placed on a chair seat to detect pressure distribution and asymmetry in sitting positions. Alerts are generated in real-time to notify users of prolonged asymmetrical sitting conditions, aiming to reduce the risk of low-back pain associated with incorrect posture
You Work We Care: Sitting Posture Assessment Based on Point Cloud Dat | u Katayama | 2022 | conference | [5 empty] | LiDAR |  |  |  | x, y, and z coordinate | 9 | 1. Front Left 2. Front Right 3. Front Center 4. Straight Left 5. Straight Right 6. Straight Center 7. Back Left 8. Back Right 9. Back Center | Raspberry Pi 4 | 2D CNN | [5 empty] | 87% | his future work may involve testing the system in different working environments or situations to assess its adaptability and robustness. Additionally, further research could focus on enhancing the system's capabilities, such as improving posture classification accuracy, expanding the range of recognized postures, or exploring additional applications of the point cloud-based posture recognition technology. The researchers may also explore potential enhancements to the deep neural network used for posture recognition to optimize its efficiency and effectiveness in tracking and monitoring human poses | point cloud-based recognition, LiDAR, posture recognition |  | The proposed system utilizes a small portable human sensing device equipped with a micro-sized LiDAR sensor. This LiDAR sensor, which is smaller and lighter than consumer-grade LiDAR devices, consists of an infrared laser and a CMOS image sensor to acquire a 3D point cloud in real-time. The sensor captures each 3D point in the point cloud with x, y, and z coordinate information. This point cloud data is then processed by a computing unit, which includes a battery and a Raspberry Pi 4 Model B, to run the posture recognition algorithms . The LiDAR device scans the human's sitting posture and represents it in a privacy-keeping point cloud form, ensuring that no identifiable information is captured . | Cost: LiDAR devices can be expensive, which may impact the feasibility of widespread adoption in various environments. Portability: Traditional LiDAR devices are often bulky and not easily portable, which can limit their use in dynamic or mobile settings. Data Processing: Handling and processing large amounts of point cloud data generated by LiDAR devices can be computationally intensive and require efficient algorithms for analysis. Environmental Interference: LiDAR performance may be affected by environmental factors such as lighting conditions, reflective surfaces, and obstacles in the surroundings. Privacy Concerns: Ensuring that LiDAR data collection and processing methods do not compromise user privacy or security, especially in sensitive environments. Calibration and Alignment: Proper calibration and alignment of LiDAR sensors are crucial for accurate data capture and interpretation, which may require technical expertise.
Knitted self-powered sensing textiles for machine learning-assisted sitting posture monitoring and correction | Jiang | 2022 | journal | [5 empty] | 8 wearable sensor, 8 sensors |  |  | cervical spine, thoracic spine, lumbar spine, shoulder wings, and waist | 8 Sensor voltages | 6 | 1. Leaning Toward the Right Leaning Toward the Left Humpback Posture Backward Posture Sitting Idle 6. Ideal | Computer with LabView and Python | RF, LR, DT | NA | NA | NA | RF=96.60% |  |  | Energy Harvesting Optimization: Further optimize the energy harvesting capabilities of the textiles to ensure sustainable and continuous power supply for the sensors and data processing components. Integration with Smart Furniture: Investigate the integration of the sensing textiles with smart furniture or seating solutions to create an interconnected system that promotes healthy sitting habits and provides holistic posture monitoring. | posture monitoring, knitted fabric, triboelectric nanogenerator, wearable electronics, machine learnin |  | self-powered sitting position monitoring vest (SPMV) based on triboelectric nanogenerators (TENGs) to achieve accurate real-time posture recognition through an integrated machine learning algorithm. The SPMV achieves high sensitivity (0.16 mV/Pa), favorable stretchability (10%), good stability (12,000 cycles), and machine washability (10 h) by employing knitted double threads interlaced with conductive fiber and nylon yarn. | User Comfort and Wearability: Balancing the need for accurate sensing capabilities with user comfort and wearability to ensure that the textiles are comfortable to wear for extended periods. Energy Harvesting Efficiency: Maximizing the efficiency of energy harvesting mechanisms integrated into the textiles to ensure sustainable power supply for the sensors and data processing components.
Posture Alert | Muppavaram | 2018 | Conference | [5 empty] | Pressure sensor | Yes-IoT | Beep alert on Mobile application | 4 seat, 2 back, 2 arm | 8 sensor voltages | 12 | a) Seat not in use (unoccupied) b) User is in front of chair with legs raised c) No contact with back (sitting forward) d) Torso forward, no contact with back e) Torso is lightly tilted forward (lightly forward) f) Front of chair, leaning backward g) Leaning left or forward left (leaning left) h) Leaning right or forward right (leaning right) i) Left leg crossed (left crossed) j) Right leg crossed (right crossed) k) Torso and legs are correctly aligned (good posture) l) Torso/legs correctly aligned, shoulders relaxed | Atmel324 | KNN | Customized | 10000 values |  | 95% |  |  | website for view their daily sitting information. Web Interface: Develop a website where users can log in to view their daily sitting information, catering to individuals who do not own smartphones but still want to utilize the application. Long-Term Data Analysis: Explore ways to analyze and interpret long-term data collected from the smart chair system to identify trends, patterns, and insights into users' sitting behaviors and posture habits. User Engagement: Implement features to enhance user engagement and motivation, such as gamification elements, progress tracking, and rewards for maintaining good posture habits. Integration with Healthcare Professionals: Explore opportunities to integrate the smart chair solution with healthcare professionals or ergonomic experts to provide personalized recommendations and interventions for users with specific posture-related issues. | Cloud computing, Servers, Machine learning algorithms, Pressure sensors, Sensor arrays |  | The smart chair solution presented in the document offers a comprehensive approach to improving sitting posture for desk-based office workers. By utilizing Internet of Things techniques and sensor technology, the system can effectively monitor and analyze sitting postures in real-time.
FSR-Based Smart System for Detection of Wheelchair Sitting Postures Using Machine Learning Algorithms and Techniques | Jaffery | 2022 | Journal | [5 empty] | FSR sensors |  |  | 9 on seat 5 on seat | 3x3 matrix, 5 sensor | 5 | ideal position, forward-leaning, backward leaning, left-leaning, and right-leaning | ESP32 | (K-NN,LR,DT, SVM,LightGBM) | custom | 800 |  | 95.41 | [5 empty] | The study introduces an intelligent system that utilizes Force-Sensitive Resistor (FSR) sensors and machine learning algorithms to detect wheelchair users' sitting postures. Two sensor configurations, a 3x3 matrix, and a cross-configuration, are embedded on a wheelchair seat to collect pressure data in real-time. Machine Learning Algorithms: Five machine learning algorithms (K-NN, LR, DT, SVM, LightGBM) are employed to classify five sitting positions: ideal, backward-leaning, forward-leaning, right-leaning, and left-leaning. The study compares the performance of these algorithms in terms of accuracy, precision, and execution time. | Sensor Placement and Calibration: Ensuring accurate placement and calibration of the FSR sensors on the wheelchair seat to capture precise pressure data from users in real-time. Variability in sensor sensitivity or positioning could impact the reliability of the collected data and subsequent posture classification. Dataset Collection and Diversity: Acquiring a diverse and representative dataset that includes samples from individuals with varying body types, postures, and mobility levels. Challenges may arise in recruiting a sufficient number of participants and ensuring the dataset's inclusivity to train the machine learning algorithms effectively.
A Proposal of Implementation of Sitting Posture Monitoring System for Wheelchair Utilizing Machine Learning Methods | Ahmad | 2021 | Journal | [5 empty] | Pressure Sensor |  |  | 16 sensor on the seat | 4x4 screen printed pressure sensor units | 4 | right-leaning, left-leaning, forward-leaning, and backward-leaning postures | ATmega-2560 | k-nearest neighbors (k-NN), support vector machines (SVM), random forest (RF), decision tree (DT) and LightGBM | Collected | 4096 |  | kNN-99.03 |  |  | enhancing the pressure data collection stage to improve overall classification accuracy | pressure sensor; pressure mapping; sitting posture recognition; wheelchair seat cushion; machine learning algorithms |  | The findings of the study on the Sitting Posture Monitoring System include the successful compilation of a dataset consisting of 32 individuals holding four different postures for up to 30 seconds each . The study employed machine learning algorithms to classify and recognize these postures based on the sensor data collected from the ATmega-2560 microcontroller. The classification algorithms used in the study achieved satisfactory accuracy in identifying the different sitting postures . | algorithm optimization for real-time processing
Smart-Cover: A real time sitting posture monitoring system | Anwary | 2021 | Journal |  | piezoresistive |  |  |  | Sitting Pressure Sensor (SPS) |  |  | 4 on the seat 2 on back | SPS matrix data | 6 | three levels of asymmetry: mild, moderate, and severe. | ATmega328 | Rule based fuzzy logic | real time collected by IoT | data from 10 people |  | >80% in fuzzy |  |  | The study acknowledged the need for future research to investigate the potential therapeutic benefits of using the Smart-Cover system for posture monitoring. Understanding how the system can contribute to improving musculoskeletal health and preventing related conditions requires additional investigation | Wearable sensorsProlonged sittingSitting diseasePosture monitoringPressure sensorsSitting asymmetryInternet of thingsFuzzy classifiera | Finds level of asymmetry, active and static sitting, and daily summary score | The study designed and developed new hardware components, including a novel pressure sensing architecture embedded in the seat covering. This hardware aimed to study human sitting biomechanics, reduce sensor noise through filtering, transfer data to a cloud server using IoT, and incorporate wireless charging capabilities | small sample size, few posture
Improved Self-Organizing Map-Based Unsupervised Learning Algorithm for Sitting Posture Recognition System | Cai | 2021 | Journal | [5 empty] | pressure sensors and ultrasonic |  |  | seat Snsor array 1024 | sensors matrix redcuded to 32x8 | 6 | Standard sitting posture Lean left posture Lean right posture Waist bow posture Right cross-legs posture Left cross-legs posture | STM32 MCU | ISOM-based sitting posture recognition algorithm | Customized | 8000 | 95.87 | 95.67% | 95.67 |  | Future work could focus on expanding the dataset with a larger and more diverse set of samples to improve the algorithm's generalization and accuracy. | sitting posture recognition; flexible pressure array; self-organizing map; unsupervised self-learning algorithm |  | focuses on the design and implementation of a sitting posture recognition system using a flexible array pressure sensor and the Self-Organizing Map (SOM) algorithm for real-time and accurate posture recognition | Limited Sample Size:
Sitsen: Passive sitting posture sensing based on wireless devices | Li | 2021 | Journal | [5 empty] | RFID |  |  | close to user | RFID signals | 5 | 1. Sitting straight 2. Back bend forward 3. Sitting backward 4. Waist straight forward with the waist and thigh at an angle of 30° 5. Waist straight forward with the waist and thigh at an angle of 45° | NA | PCA and Neural network back propagation (BP) neural network | RFID | data from 10 people |  | 97.02 |  |  | In future work, we will explore different tag deployment strategies which may relax the requirement. Also, we will try to make the device smaller, allowing more people to try and accept the sitting posture recognition using our system. | Sitting posture recognition, radio frequency identification, back propagation net, principal component analysis, devicefree |  |  | The limited range of postures may restrict the system's ability to accurately classify more diverse or unconventional sitting positions. Expanding the posture recognition capabilities could enhance the system's versatility The accuracy of the system may be susceptible to environmental factors, such as noise and interference that can affect the RFID signal quality.
IoT Device for Sitting Posture Classification Using Artificial Neural Networks | Luna-Perejón | 2021 | Journal | [5 empty] | Force Sensitive Resistors (FSR) |  |  | 6 on seat | sensors, microcontroller unit | 6 | Upright posture Reclined Torso bent forward torso inclined laterally to the right torso inclined laterally to the left right leg crossed over the left. left leg crossed over the right | NUCLEO-F411RE STM32 Nucleo-64 development motherboard | ANN | Collected from sensors | data from 12 people |  | 81% |  |  | final working device, fully enclosed, wireless, battery operated, and independent | Machine Learning; IoT device; posture detection; pain prevention; artificial neural networks |  | IoT posture monitoring system, equipped with Force Sensitive Resistors (FSRs) and an Artificial Neural Network model, achieved a mean accuracy of 81% in classifying seven different sitting postures. | Small Dataset Size: The study involved data collection from only 12 participants for each of the seven sitting postures considered. nadequate Sensor Placement: The system utilized six force sensors on the chair seat to detect sitting postures.
A portable sitting posture monitoring system based on a pressure sensor array and machine learning | Ran | 2021 | Journal | Pressure Sensor | IMM00014, I-MOTION |  | Cushion | 11x13 | Pressure sensors |  | Vibrotactile Feedback | on the seat | Sensor array 11x13 | 7 | (a) sitting upright, (b) leaning forward, (c) leaning backward, (d) leaning left, (e) leaning right, (f) cross left leg, and (g) cross right leg. | Raspberry Pi | Random Forest | 54x52 sensor data | 21000 frames | 96.4 | 97.07% | 96.3 |  | Wearable sensors, more compact design | Sitting posture Sensor array Machine learning Vibration feedback |  | Key findings of the study include achieving a classification accuracy of 96.26% with a prediction time of 19 microseconds, highlighting the importance of real-time data processing on the Raspberry Pi and providing feedback to the user through motor vibration to encourage correct sitting posture. The system's design emphasized portability, real-time feedback, and user-friendly data visualization for effective posture monitoring and improvement.
SeatPlus: A smart health chair supporting active sitting posture correction | Shen | 2021 | Conference | [5 empty] | membrane pressure sensors |  |  | on the seat | Sensor array | 11 | Good sitting posture Humpback Reclining Shallow sitting Cross-leg (left) Cross-leg (right) Inclining to the left Inclining to the right | Arduino Mega2560 | Multi-Layer Perceptron Classifier | sensor data |  |  | >90% |  |  | Proposal of integrating active posture correction into a smart chair. Revelation of the relationship between system performance and usability. Summary of practical experience of Lean UX in research and development | Real-time monitoring ·Active correction ·Smart chair ·Healthy sitting posture ·Lean UX
Hip Positioning and Sitting Posture Recognition Based on Human Sitting Pressure Image | Wan | 2021 | Journal | [5 empty] | Body Pressure Measurement System (BPMS) |  |  | on the seat | sensor array 32x32 | 4 | Sitting upright Leaning back Leaning left Leaning right | Laptop | SVM) with polynomial kernel | sensor data | data from 10 people, 800 images |  | 89.6% |  |  | extract more features of specific parts of the human body | sitting pressure image acquisition system; hip positioning algorithm; support vector machine; sitting posture classification |  | Design of a Sitting Pressure Image Acquisition System: The research introduces a system that efficiently collects human sitting pressure images, providing a valuable tool for analyzing sitting postures and hip positioning. Development of an Innovative Hip Positioning Algorithm: The study proposes a novel algorithm based on hip templates that effectively locates the hip position using pressure images. The algorithm demonstrates good performance in accurately positioning the hip with minimal deviation, even for different sitting angles. Feature Extraction and Classification: By utilizing the hip positioning algorithm, the study effectively extracts pressure values from specific regions like the left hip, right hip, and caudal vertebrae as features for classification. | sample size
Posture Prediction for Healthy Sitting using a Smart Chair | Gelaw | 2022 | Journal | [5 empty] | 32+32 pressure sensors |  |  | 32 on the seat 32 on the back | sensor array 32+32 | 5 | 1. Empty 2. Leaning back 3. Leaning left 4. Leaning right 5. Leaning front 6. still | Not-Specified | Random Forest (RF), Gaussian Naïve Bayes, Logistic Regression, Support Vector Machine and Deep Neural Network | sensor data | 7000 |  | 98% |  |  | collecting real world dataset, employing increased number of participants, and sitting posture | Sitting posture, Smart chair, Pressure sensor, Deep Neural Networks, Prediction
Intelligent Posture Training: Machine-Learning-Powered Human Sitting Posture Recognition Based on a Pressure-Sensing IoT Cushion | Bourahmoune | 2022 | Journal |  |  |  | Cushion strapped to back seat | 9 | Pressure sensor | Yes-IoT |  | 9 sensors on back of seat | sensor data | 15 | Right Arm Cross (RAC); (b) Left Arm Cross (LAC); (c) Both Arms Up (BAU); (d); Right Leg Up (RLU); (e) Left Leg Up (LLU); (f) Hanging Arms Down (HAD). Forward Head Posture Leaning Back No Left Side No Left Shoulder No Right Side No Right Shoulder Rounded Shoulders Slouching Forward | Not-Specified | Decision Trees - Classification and Regression Trees (DT-CART) Random Forest (RF) k-Nearest Neighbors (k-NN) Linear Regression (LR) Linear Discriminant Analysis (LDA) Naive Bayes (NB) Neural Network - Multilayer Perceptron (MLP) | biomechanics posture model and on user body characteristics’ data (BMI) | 312,587 recordings |  | 98.82% |  |  | real-world scenarios such as driving, healthcare, and entertainment for improving human well-being | posture recognition; applied machine learning; IoT; pressure sensing; human well-being |  | The research introduces a machine-learning-based approach for sitting posture and stretch pose recognition using a pressure-sensing IoT cushion. This approach enables accurate recognition of various sitting postures and seated stretch poses, providing personalized well-being guidance based on individual posture data | Posture Descriptors: While the research implemented a posture model with threshold-based posture templates to address important posture aspects, such as rounded shoulders and forward head posture, there may still be limitations in capturing all nuances of sitting posture, such as shoulder positions, vertical symmetry, and horizontal symmetry
Real- Time Human Sitting Position Recognition using Wireless Sensors | Estrada | 2022 | Conference | [5 empty] | 10 Flex sensor wireless sensor |  |  | Placed on body | lkex sensors data | 6 | 3 proper and 3 improper | Laptop | Decision Tree | data from 10 flex sensors | 3600 | 78.57 | 84.62% | 84.62 |  | deeper investigation on the acceptable workplace design relative to the user’s body frame | Ergonomics; Flex Sensors; Digital Signal Processing; Machine Learning; Proper and Improper Sitting Posture; User- Modeling; Ubiquitous and Pervasive Computing; Human- Computer Interaction |  | model that will recognize proper and improper sitting posture in front of a laptop using Digital Signal Processing and User- Modeling. This study used flex sensors placed in the upper areas of the body.
A deep learning based 2-dimensional hip pressure signals analysis method for sitting posture recognition | Fan | 2022 | Journal | [5 empty] | array pressure sensor |  |  | on the Seat | 44 × 52 pressure sensor array | 5 | Sitting upright Leaning forward Leaning back Leaning left Leaning right | Laptop | deep convolutional neural network (CNN) | data from 8 people | 1120 |  | 99.82% |  |  | the recognition of sitting posture can be combined with the detection of spine curvature, | Sitting posture Hip pressure 2D pressure sensor array Convolution neural network |  | method based on the analysis of the pressure on the hip interface to identify the sitting postures. An array pressure sensor placed on the cushion collects the tester's hip pressure and obtains a pressure heat map.
A Smart Chair Sitting Posture Recognition System Using Flex Sensors and FPGA Implemented Artificial Neural Network | Hu | 2020 | Journal |  |  |  |  | 6 | 6 Flex sensor, | Yes-IoT | Visual warnign on Mobile phone | 3 on seat, 2 on arms, 1 back | sensor data | 7 | (a) sit straight; (b) left recline; (c) right recline; (d) lounge; (e) lean backward; (f) cross left leg; (g) cross right leg. | Arduino+PC | SVM ANN |  | 9791 |  | SVM 88.37%, ANN (97.43%) |  |  | The algorithms with complicatedarchitecture likeConvolutionalNeuralNetwork (CNN)will beconsideredas apotential choice tomeet the challenges.Besides, thesystemwillbeoptimizedwithrespect tothereal-timeprocessing, theuserusabilityandacceptability aswellasmobilityandcomfortability. | Smart Chair, Sitting Posture Recognition, Flex Sensors, Artificial Neural Network, Real-time Machine Learning.
Providing a cushion for wireless healthcare application development | Hu | 2010 | Conference | Pressure Sensor TexScan |  |  | Cushion- | 6 |  | Yes-IoT | Visual warnign on Mobile phone | 4 seat , 2 back, acclerometer at back | sensor data |  |  | Crossbow Technology
LifeChair: A Conductive Fabric Sensor-Based Smart Cushion for Actively Shaping Sitting Posture | Ishac | 2018 | Journal | Pressure Sensor | conductive fabric-based sensors |  |  | 9 |  |  | Vibrotactile Feedback |  |  | 11 |  | Atmega328 |  | Pressure data |  |  | 98.1%
Inverse Piezoresistive Nanocomposite Sensors for Identifying Human Sitting Posture | Qian | 2018 | Journal | Strain Guage | inverse piezoresistive nanocomposite sensors | Ecoflex 00-30 | Human Back | 1 | Strain Gauge | Yes-IoT | Ntype not mentioned | Human Back |  | 3 | 1)normal sitting posture, 2) slight hunchback and 3)severe hunchback | Arduino Uno | BP neural Network |  |  |  | 98.75
Inertial Sensors
Smartphone-Based Human Sitting Behaviors Recognition Using Inertial Sensor | Sinha | 2021 | Journal | Inertial Sensor |  |  | Smartphone |  | sensor built in the smartphone | No | No | the inertial sensor is attached to the rear upper trunk of the body | IMU sensor | 5 | Left movement Right movement Front movement Back movement Straight movement | Smartphone | Correlation-based feature selection (CFS) technique, particle swarm optimization (PSO) and SVM, KNN, Naive Bayes | Collected from sensor data | 163501 |  | 99.9% |  |  | Using only smart phone | accelerometer; classifiers; CFS; an inertial sensor; gyroscope; human sitting behaviors; magnetometer; PSO; smartphone |  | he research introduces an innovative framework that leverages smartphone sensors to monitor and analyze human sitting behaviors continuously, providing insights into correct and incorrect postures. Dataset Generation: The study self-generates a sitting behaviors dataset, enabling the development and testing of machine learning algorithms for behavior recognition. | Sensor Placement: The accuracy of behavior recognition may be influenced by the placement of the inertial sensor on the rear upper trunk, as different placements could yield varying results.
Human Postures Recognition by Accelerometer Sensor and ML Architecture Integrated in Embedded Platforms: Benchmarking and Performance Evaluation | leone | 2023 | Jounral | Accelerometer |  |  | Chest |  | tri-axial accelerometer-based (shimmer device on chest) | No | No |  | accelerometer values | 4 | NA | PC, Raspberry Pi 4 and Odroid N2+ | RF, DT, KNN | NA |  | 98.6 | 98.7% | 98.6% | 97.7%
Machine Learning Algorithms Application For The Proposed Sitting Posture Monitoring System | Tlili | 2022 | Journal | Inertial Sensor |  | MPU6050 | Human Back | 2 | Belt with two inertial sensors | No | No |  | angle array | 4 | 1. Good Posture 2. Slouching Over 3. Slouching Left 4. Slouching Right | Raspberry Pi 4 | KNN, SVM, DT, RF, Naive-Bayes, Boosting, K-means | Customized | 5940 |  | RF=99.19% | RF=98.70% |  | extend the dataset, add alert system | Posture Monitoring; Machine Learning; Inertial Sensors |  | The study successfully demonstrated the application of machine learning algorithms for accurately recognizing and classifying various sitting postures, such as sitting upright, leaning forward, leaning backward, leaning left, leaning right, and crossing legs. The study implemented a smart belt equipped with inertial sensors for data collection of sitting posture, addressing the portability limitation of existing solutions . By placing two inertial sensors on the belt, one in the middle of the back and the other on the top right shoulder, the system aimed to provide more precise and accurate posture monitoring | Sensor Integration: Integrating multiple sensors, such as the pressure array sensor and the infrared array sensor, into a cohesive system can be challenging. Ensuring that the sensors work together seamlessly to capture relevant data for sitting posture recognition without interference or data loss may have been a challenge . Data Fusion: Combining data from different modalities, such as pressure and infrared sensors, to accurately recognize sitting postures requires sophisticated data fusion techniques. Challenges may have arisen in developing and optimizing algorithms for fusing multimodal data effectively . Privacy Concerns: Ensuring the privacy of individuals while collecting data on sitting postures in a workplace setting is crucial. Addressing privacy concerns and implementing measures to protect sensitive data from unauthorized access or misuse may have posed challenges . Accuracy and Generalization: Achieving high accuracy in recognizing a wide range of sitting postures across different individuals and scenarios can be challenging. Ensuring that the system can generalize well to various body types, postures, and environmental conditions may have been a challenge . User Acceptance: Encouraging user acceptance and compliance with the system for long-term monitoring of sitting postures in a workplace setting can be challenging. Ensuring that the system is user-friendly, non-intrusive, and provides meaningful feedback to users may have been a consideration . Hardware and Software Optimization: Optimizing the hardware prototype and deep learning model for efficient data collection, processing, and recognition of sitting postures may have presented technical challenges. Balancing performance, power consumption, and cost-effectiveness of the system could have been areas of focus
Mix sensor
Multimodal data-based deep learning model for sitting posture recognition toward office workers’ health promotion | Zhang | 2023 | Journal |  |  |  |  | 44x52 24x32 | pressure sensor arrays (44x52) and infrared array (24x32) | No | No |  | Snapshoot of pressure sensor arrays (44x52) | 6 | straight, leaning forward, leaning backward, hunchback, leaning left, rotation left | EVB90640-41 | Multimodela Deep Learning | Heterogeneous, Skoda, and PAMAP2. | 8970 |  |  |  | F1=93.08% |  | Sitting posture recognition; Multimodal data; Self-attention; Deep learning; Ergonomics | Exclude - no detection mechanism provided
Efficient Sitting Posture Recognition for Wheelchair Users: An Unsupervised Data-Driven Framework | Ramakrishna | 2023 | Journal | [5 empty] | 3 pressure sensors (on seat) and 1 ultrasonic sensor (back) |  |  |  | pressure sensors | 4 |  | NA | ICA model and KD-based monitoring | Borrowed from other author | 308 datapoints |  | F1-score around 99.41% |  | 99.41% | Future work will investigate including more data inputs, such as heart rate and blood pressure provided by a smartwatch or a smartphone, for further improving the efficiency of sitting posture recognition | Pressure sensors , Support vector machines , Wearable Health Monitoring Systems , Wheelchairs , Detectors , Data models , Biomedical monitoring , Unsupervised learning
A privacy-preserving and unobtrusive sitting posture recognition system via pressure array sensor and infrared array sensor for office workers | Zhang | 2022 | Journal | Pressure + Infrared |  | IR=MLX90640 |  | IR:24x32 Press:44x52 | pressure sensor array module + infrared |  |  |  | Snapshot of Pressure(44 × 52) Infrared(24 × 32) | 10 | Trunk is straight (TS), leaning forward (TF), leaning backward (TB), and leaning to the left (TL). Neck is neutral (NN) or non-neutral (NON). Upper extremity: putting hands on the desk (UD), hands on the legs (UL), holding the chin using one hand (UC), and holding the forehead using one hand (UF). The lower extremity: the legs are crossed (LC) or supported by the ground (LG) | EVB90649-4 for IR | DCNN and TSPN | Customized | 6300 frames |  | 90.6% |  |  | The study suggests future research directions, including optimizing sensor layout to improve resolution, exploring the system's capability to recognize additional sitting postures related to health risks, and testing the system on individuals with various physical characteristics | Sitting posture recognition Pressure array sensor Infrared array sensor Ergonomics Deep learning |  | The system incorporates a pressure array sensor and an infrared array sensor deployed in a cubicle to collect sitting posture data unobtrusively while preserving user privacy. The pressure array sensor consists of 2288 pressure sensing elements arranged in a matrix, while the infrared array sensor has 24 x 32 infrared detectors , . Sitting Posture Recognition: Ten sitting posture categories were predefined based on ergonomics studies, each involving different states of the four body parts. The system utilizes a deep learning-based approach to fuse multimodal data from the sensors for accurate recognition of sitting postures | "Sensor Integration: Integrating multiple sensors, such as the pressure array sensor and the infrared array sensor, into a cohesive system can be challenging. Ensuring that the sensors work together seamlessly to capture relevant data for sitting posture recognition without interference or data loss may have been a challenge . Data Fusion: Combining data from different modalities, such as pressure and infrared sensors, to accurately recognize sitting postures requires sophisticated data fusion techniques. Challenges may have arisen in developing and optimizing algorithms for fusing multimodal data effectively . Privacy Concerns: Ensuring the privacy of individuals while collecting data on sitting postures in a workplace setting is crucial. Addressing privacy concerns and implementing measures to protect sensitive data from unauthorized access or misuse may have posed challenges . Accuracy and Generalization: Achieving high accuracy in recognizing a wide range of sitting postures across different individuals and scenarios can be challenging. Ensuring that the system can generalize well to various body types, postures, and environmental conditions may have been a challenge . User Acceptance: Encouraging user acceptance and compliance with the system for long-term monitoring of sitting postures in a workplace setting can be challenging. Ensuring that the system is user-friendly, non-intrusive, and provides meaningful feedback to users may have been a consideration . Hardware and Software Optimization: Optimizing the hardware prototype and deep learning model for efficient data collection, processing, and recognition of sitting postures may have presented technical challenges. Balancing performance, power consumption, and cost-effectiveness of the system could have been areas of focus"

## sorted
Smart Seat With Real-Time Asymmetrical Sitting Alert | Lamberti | 2022 |  | cushion equipped with four commercial pressure sensors |  | 4 sensor values | 2 |  | User-centred initialization
Human Postures Recognition by Accelerometer Sensor and ML Architecture Integrated in Embedded Platforms: Benchmarking and Performance Evaluation | leone | 2023 | Jounral | tri-axial accelerometer-based (shimmer device on chest) |  | accelerometer values | 4 |  | RF, DT, KNN |  |  | 98.6 | 98.7% | 98.6% | 97.7%
Efficient Sitting Posture Recognition for Wheelchair Users: An Unsupervised Data-Driven Framework | Ramakrishna | 2023 | Journal | pressure sensors and ultrasonic |  | pressure sensors | 4 |  | ICA model and KD-based monitoring | Borrowed from other author | 308 datapoints |  | F1-score around 99.41% |  | 99.41% | Future work will investigate including more data inputs, such as heart rate and blood pressure provided by a smartwatch or a smartphone, for further improving the efficiency of sitting posture recognition | Pressure sensors , Support vector machines , Wearable Health Monitoring Systems , Wheelchairs , Detectors , Data models , Biomedical monitoring , Unsupervised learning
Machine Learning Algorithms Application For The Proposed Sitting Posture Monitoring System | Tlili | 2022 | Journal | Belt with two inertial sensors |  | angle array | 4 |  | KNN, SVM, DT, RF, Naive-Bayes, Boosting, K-means | Customized | 5940 |  | RF=99.19% | RF=98.70% |  | extend the dataset, add alert system | Posture Monitoring; Machine Learning; Inertial Sensors
A Proposal of Implementation of Sitting Posture Monitoring System for Wheelchair Utilizing Machine Learning Methods | Ahmad | 2021 | Journal | Pressure Sensor |  | 16 screen printed pressure sensor units | 4 |  | k-nearest neighbors (k-NN), support vector machines (SVM), random forest (RF), decision tree (DT) and LightGBM | Collected | 4096 |  | kNN-99.03 |  |  |  | pressure sensor; pressure mapping; sitting posture recognition; wheelchair seat cushion; machine learning algorithms
Hip Positioning and Sitting Posture Recognition Based on Human Sitting Pressure Image | Wang | 2021 | Journal | Body Pressure Measurement System (BPMS) |  | snesor array 32x32 | 4 |  | SVD | sensor data | data from 10 people, 800 images |  | 89.6% |  |  | extract more features of specific parts of the human body | sitting pressure image acquisition system; hip positioning algorithm; support vector machine; sitting posture classification
Intelligent Active Correction Seat Based on Neural Network Sitting Posture Recognition | Liang | 2022 | Journal | Cushion Pressure Gauge |  | 8 +6 sensor voltage values | 5 |  | CNN
FSR-Based Smart System for Detection of Wheelchair Sitting Postures Using Machine Learning Algorithms and Techniques | Jaffery | 2022 | Journal | FSR sensors |  | 3x3 matrix, 5 sensor | 5 |  | (K-NN,LR,DT, SVM,LightGBM) |  |  |  | 95.41
Sitsen: Passive sitting posture sensing based on wireless devices | Li | 2021 | Journal | RFID |  | RFID signals | 5 |  | PCA and Neural network | RFID | data from 10 people |  | 97.02 |  |  |  | Sitting posture recognition, radio frequency identification, back propagation net, principal component analysis, devicefree
Smartphone-Based Human Sitting Behaviors Recognition Using Inertial Sensor | Sinha | 2021 | Journal | sensor built in the smartphone |  | IMU sensor | 5 |  | Correlation-based feature selection (CFS) technique, particle swarm optimization (PSO) and SVM | Collected from sensor data |  |  | 99.9% |  |  | Using only smart phone | accelerometer; classifiers; CFS; an inertial sensor; gyroscope; human sitting behaviors; magnetometer; PSO; smartphone
Posture Prediction for Healthy Sitting using a Smart Chair | Gelaw | 2022 | Journal | 32x32 pressure sensors |  | sensor array | 5 |  | Random Forest (RF), Gaussian Naïve Bayes, Logistic Regression, Support Vector Machine and Deep Neural Network | sensor data | 4875 data from 50 people |  | 98% |  |  | collecting real world dataset, employing increased number of participants, and sitting posture | Sitting posture, Smart chair, Pressure sensor, Deep Neural Networks, Prediction
A deep learning based 2-dimensional hip pressure signals analysis method for sitting posture recognition | Fan | 2022 | Journal | array pressure sensor |  | sensor data | 5 |  | deep convolutional neural network (CNN) | data from 8 people | 1120 |  | 99.82% |  |  | the recognition of sitting posture can be combined with the detection of spine curvature, | Sitting posture Hip pressure 2D pressure sensor array Convolution neural network
Multimodal data-based deep learning model for sitting posture recognition toward office workers’ health promotion | Zhang | 2023 | Journal | pressure sensor arrays and infrared |  | Snapshoot of pressure sensor arrays (44x52) | 6 |  | Multimodela Deep Learning | Heterogeneous, Skoda, and PAMAP2. | 8970 |  |  |  | F1=93.08% |  | Sitting posture recognition; Multimodal data; Self-attention; Deep learning; Ergonomics | Exclude - no detection mechanism provided
A comparative study on real-time sitting posture monitoring systems using pressure sensors | Zhao | 2023 | journal | 5 Pressure sensors | STM32F103C8T6 | sensor voltages | 6 | : (a) upright, (b) leaning left, (c) leaning right, (d) leaning forward, (e) leaning backward, (f) right leg crossed, (g) left leg crossed | k-nearest neighbors, naive Bayes, decision trees, XGBoost, and random forest | Customized | [6 empty] | sitting posture monitoring, pressure sensor, subject-independent, subject-dependent, cross-subject
Knitted self-powered sensing textiles for machine learning-assisted sitting posture monitoring and correction | Jiang | 2022 | journal | wearable sensor |  |  | 6 |  | RF, LR, DT |  |  |  | RF=96.60% |  |  |  | posture monitoring, knitted fabric, triboelectric nanogenerator, wearable electronics, machine learnin
Smart-Cover: A real time sitting posture monitoring system | Anwary | 2021 | Journal | Sitting Pressure Sensor (SPS) |  | SPS matrix data | 6 |  | Rule based fuzzy logic | real time collected by IoT | data from 10 people |  | >80% in fuzzy |  |  |  | Wearable sensorsProlonged sittingSitting diseasePosture monitoringPressure sensorsSitting asymmetryInternet of thingsFuzzy classifiera | Finds level of asymmetry, active and static sitting, and daily summary score
Improved Self-Organizing Map-Based Unsupervised Learning Algorithm for Sitting Posture Recognition System | Cai | 2021 | Journal | pressure sensors and ultrasonic |  | sensors | 6 |  | ISOM-based sitting posture recognition algorithm |  | 8000 | 95.87 | 95.67% | 95.67 |  | Big number of data | sitting posture recognition; flexible pressure array; self-organizing map; unsupervised self-learning algorithm
Real- Time Human Sitting Position Recognition using Wireless Sensors | Estrada | 2022 | Conference | wireless sensor |  | lkex sensors data | 6 |  | Decision Tree | data from 10 flex sensors | data from 60 people | 78.57 | 84.62% | 84.62 |  | deeper investigation on the acceptable workplace design relative to the user’s body frame | Ergonomics; Flex Sensors; Digital Signal Processing; Machine Learning; Proper and Improper Sitting Posture; User- Modeling; Ubiquitous and Pervasive Computing; Human- Computer Interaction
A Smart Chair Sitting Posture Recognition System Using Flex Sensors and FPGA Implemented Artificial Neural Network | Hu | 2020 | Journal | 6 Flex sensor, 3 on seat, 2 on arms, 1 back |  | sensor data | 6 | (a) sit straight; (b) left recline; (c) right recline; (d) lounge; (e) lean backward; (f) cross left leg; (g) cross right leg. | SVM ANN |  |  |  | SVM 88.37%, ANN (97.43%) |  |  |  | Smart Chair, Sitting Posture Recognition, Flex Sensors, Artificial Neural Network, Real-time Machine Learning.
IoT Device for Sitting Posture Classification Using Artificial Neural Networks | Luna-Perejón | 2021 | Journal | Force Sensitive Resistors (FSR) |  | ), 9 | 7 |  | ANN | Collected from sensors | data from 12 people |  | 81% |  |  | final working device, fully enclosed, wireless, battery operated, and independent | Machine Learning; IoT device; posture detection; pain prevention; artificial neural networks
A portable sitting posture monitoring system based on a pressure sensor array and machine learning | Ran | 2021 | Journal | Pressure sensors |  | Sensor array | 7 |  | Random Forest | 54x52 sensor data | 21000 frames | 96.4 | 97.07% | 96.3 |  | Wearable sensors, more compact design | Sitting posture Sensor array Machine learning Vibration feedback
Research and Application of Sitting Posture Correction Design Based on Artificial Intelligence | Wang | 2022 | conference | Pressure sensor array |  | snesor snaphot (32x32) | 8 | [5 empty] | 98% |  |  |  | artificial intelligence, sitting posture correction, neural network, sensor
SeatPlus: A smart health chair supporting active sitting posture correction | Shen | 2021 | Conference | Sensors and Arduino Mega2560 |  | Sensor array | 8 |  | Questionare | sensor data |  |  | >90% |  |  |  | Real-time monitoring ·Active correction ·Smart chair ·Healthy sitting posture ·Lean UX
You Work We Care: Sitting Posture Assessment Based on Point Cloud Dat | u Katayama | 2022 | conference | LiDAR |  | x, y, and z coordinate | 9 |  | 2D CNN | [5 empty] | 87%
A privacy-preserving and unobtrusive sitting posture recognition system via pressure array sensor and infrared array sensor for office workers | Zhang | 2022 | Journal | pressure sensor array module + pressure sensor array |  | Snapsho: Pressure(44 × 52) Infrared(24 × 32) | 10 |  | DCNN and TSPN | Customized | 6300 frames |  | 90.6% |  |  |  | Sitting posture recognition Pressure array sensor Infrared array sensor Ergonomics Deep learning
Posture Alert | Muppavaram | 2018 | Conference | Pressure sensor |  | 7 sensor voltages | 12 |  | KNN | Customized | 10000 values |  | 95% |  |  | website for view their daily sitting information. | Cloud computing, Servers, Machine learning algorithms, Pressure sensors, Sensor arrays
Intelligent Posture Training: Machine-Learning-Powered Human Sitting Posture Recognition Based on a Pressure-Sensing IoT Cushion | Bourahmoune | 2022 | Journal | Pressure sensor |  | sensor data | 15 |  | smart posture data-driven stretch recommendation system | biomechanics posture model and on user body characteristics’ data (BMI) | 312,587 recordings |  | 98.82% |  |  | real-world scenarios such as driving, healthcare, and entertainment for improving human well-being | posture recognition; applied machine learning; IoT; pressure sensing; human well-being
Title | Auther | Year | J/C/B | Sensor Technology | Controller | Input | No. of Postures |  | Algorithm | Dataset | Data Size | Precision | Accuracy | Recall | F1 | Future work | Key words | Comments